## Sheet1
| QAI-CLA- 113 |  |  | Issue 1, January 2021
STANDARD TOOL FOR QAI RECOGNITION FOR MEDICAL LABORATORIES (QRML)- MEDIUM LEVEL
Name of the laboratory:
Eligibility conditions:
1. Medical laboratories having permanent facility or mobile facility or both
I. SCOPE OF SERVICES
2. Scope of services: Laboratory performing any test out of the following scope ONLY are eligble to apply: (As per Gazette notification G.S.R. 468(E) dated 18th May, 2018 and related amendment dated 14 February 2020 by MOHFW)
A. | Biochemistry: Routine Biochemistry tests like Blood Sugar, Renal Function Tests, Liver Function Tests, Amylase, Lipase, Lipid profile, Cerebro -Spinal Fluid (CSF) and other biological fluids (glucose and protein), Oral Glucose Tolerance Test, Electrolytes, Calcium or Phosphate, HbA1c, any bio chemistry based rapid test, Hormone Bioassay, Tumor markers, plasma protein electrophoresis
B. | Haematology: Haemogram (CBC, Hb, TLC, DLC, Platelet Count, RBC Count, HCT, MCV, MCH, MCHC, ESR), Bleeding Time, Clotting Time, Prothrombin Time, Activated Partial Thromboplastin Time, Blood grouping and matching, Coagulation Assay
C. | Histopathology: May do, subject to availability of equipment and specialist
D. | Molecular Genetics: May do, subject to availability of equipment and specialist
E. | Cytopathology:PAP smear, Fine Needle Aspiration Cytology(FNAC), sputum and CSF cytology
F. | Medical Microbiology & Immunology: Basic tests like Rapid Test (Point of Care tests) for infection, urine routine examination and microscopy, Hanging drop for Vibrio cholerae, Stool for ova , cyst. All HIV positive rapid assays need to be confirmed from the next level diagnostic laboratory using confirmatory tests. Serological tests for (viruses, bacteria, fungi, parasites) ,Cultural Sensitivity tests (Bacterial or fungal), Other special stains besides Gram's stain.
3. Recognition is based on All or None principle. Which means laboratories have to apply for all the scope of services available and can not choose specific test(s) for recognition.
II. INFRASTRUCTURE
1. SIGNAGE
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Basic signage- A signage within or outside the facility should made available containing the following information: | ESSENTIAL
| (b) Name of the person- in-charge with qualification and registration number | ESSENTIAL
| (c) Broad services provided i.e. Biochemistry, Haematology, Medical Microbilog & Immunology whichever is applicable | ESSENTIAL
| (d) Fee structure: To be displayed separately including type of investigation/ test and charges i.e., Special and routine tests | ESSENTIAL
| (e) Timings of the different consultants | ESSENTIAL
| (f) Internet facility or Telephone and mobile number for appointment | DESIRABLE
2. Safety Signage (Wherever applicable)
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Safety hazard and caution signs - Biomedical waste segregated in coloured bins and bags as per Biomedical Waste Management Rules, 2016 including radioactive materials, toxic chemicals, microbial agents, infected biological material. | ESSENTIAL
| (b) Appropriate Fire exit signages - Minimum one fire extinguisher | DESIRABLE
3. Space requirement
| REQUIREMENTS | DOCUMENTATION | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Registration and waiting room, public utilities, safe drinking water etc.. | ESSENTIAL
| (b) Sample collection area | ESSENTIAL
| (c) Laboratory with adequate diffuse and spot lighting | ESSENTIAL
| (d) Toilet | ESSENTIAL
| (e) Reporting and billing area | ESSENTIAL
| (f) Staff room and doctor's duty room - Male and female different where 24 hours services available | DESIRABLE
| (g) Washing room | ESSENTIAL
| (h) Preservation of the specimens and slides | ESSENTIAL
| (i) Electrical facilities | ESSENTIAL
| (j) Temperature control for specialized equipment like flow cytometry and chemiluminescence equipment, ELISA test equipment etc. | ESSENTIAL
| (k) Counselling room for HIV, if HIV testing is done | ESSENTIAL
| (l) FNAC room for all patients for sample collection, if FNAC is done by qualified staff | DESIRABLE
| (m) Frozen Section Facilities | ESSENTIAL
4. Furniture and fixtures
| Required furniture and fixtures for the facility | ESSENTIAL
| 5. Communication system - Telephone and mobile number for appointment | DESIRABLE
| 6. Wash Basins | ESSENTIAL
III. HUMAN RESOURCE
| REQUIREMENT | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO), Please mention) | EVALUATION BY ASSESSOR (YES/NO), Please mention | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Minimum qualification of Technical Head of Laboratory or Specialist or Authorised Signatories*. Note: 1. *The authorised signatory will be liable for authenticity of the laboratory test report. 2. Medical tests should normally be undertaken on the advice of a registered medical practitioner. | ESSENTIAL: Doctor of Medicine (MD) or Diplomate of National Board (DNB) in Pathology or Biochemistry or Medical Microbiology or Laboratory Medicine or Diploma in Clinical Pathology (DCP), registered with MCI or State Medical Council. Or 2. MBBS with Ph.D qualification in the field of Pathology or Microbiology or Biochemistry or Genetics or Biotechnology or Immunology or Molecular Biology or Applied Biology from a recognised university or institution and having experience of at least three years post Ph.D in a Laboratory of same or higher level in a Government or Recognised medical college or hospital or institution or organisation shall be entitled to conduct the tests, generate, sign and issue test reports in respect of tests of their respective specialty. Or 3. M.Sc. with Ph.D qualification in the field of Pathology or Medical Microbiology or Medical Biochemistry or Medical Genetics or Biotechnology or Immunology or Molecular Biology or Applied Biology from a recognised university or institution and having experience of at least three years post Ph.D in a Laboratory of same or higher level in a Government or Recognised medical college or hospital or institution or organisation shall be entitled to conduct the tests, generate and sign test reports in respect of tests of their respective specialty, without recording any opinion or interpretation of lab results. All such test reports generated must necessarily bear a disclaimer to the effect that the reports are strictly for the use of medical practitioners and are not medical diagnosis as such. Note: Interpretation of lab results or opinion there on, wherever required by the signatory authority at Sl. No.3, such test reports may be co-signed by the signatory authority at Sl. Nos. 1 or 2, after recording opinion or interpretation. Co-signee medical doctor shall be responsible only for the opinion or interpretation given. DESIRABLE: If any special test of other speciality is done, it is desirable that specialist of that subject needs be there on full time or part time or outsourced basis. *Special tests means any other apart from routine basic biochemistry, haematology, or medical microbiology tests as listed in basic laboratory. Illustration: (i) Special Tests pertaining to Bio- Chemistry and Microbiology shall be reported by Doctor of Medicine (MD) or Diplomate of National Board (DNB) Bio-Chemistry and Doctor of Medicine (MD) or Diplomate of National Board (DNB) Micro-biology respectively. (ii) Biopsies or Cytology specimens has to be reported by a person possessing Doctor of Medicine (MD) or Diplomate of National Board (DNB) Pathology.
| (b) Number of laboratory technicians with Diploma in Medical Laboratory Technology (DMLT) or Bachelor of Science (BSc.) Medical Laboratory Technology (MLT) or Master of Science (M.Sc.) Bio-chemistry or Microbiology qualification from a recognised university or institution. | ESSENTIAL-2
| (c) Support staff (Laboratory Assistant or Laboratory Attendant) Roster of salary of staff, Periodic health check-ups and vaccination of staff. | ESSENTIAL-1
IV. INSTRUMENTS OR EQUIPMENT OR DRUGS
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) List of minimum medical diagnostics laboratory equipment with quantity | ESSENTIAL AS PER SCOPE OF SERVICES
| (b) List of minimum medical diagnostics laboratory instruments with quantity | ESSENTIAL AS PER SCOPE OF SERVICES
| (c) Sterilisation such as hot air oven or autoclave | ESSENTIAL
| (d) List of reagents and consumables required | ESSENTIAL
| (e) List of Disposables | ESSENTIAL
| (f) Policy of annual maintenance contract or comprehensive maintenance contract and records for equipment (Log books) | DESIRABLE
V. LEGAL OR STATUTORY REQUIREMENTS
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| Legal or statutory requirements such as registration under the provisions of Biomedical Waste Management Rules, 2016 with State or Union territories’ Pollution Control Board with registration number and date of expiry, site, space, location and environmental requirements to be as per local bye- laws | ESSENTIAL
VI. RECORD MAINTANENCE AND REPORTING
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Reports of all patients date wise and specialty wise For example: Histopathology, Cytology, Haematology and Laboratory Medicine. | ESSENTIAL (Clinical Establishment to maintain information and statistics provided)
| (b) Medico legal records, if applicable (as per relevant law) | ESSENTIAL
| (c) Record keeping of technicians working in laboratory indicating their details of qualification training and others | ESSENTIAL
| (d) Availability of reference library including books or periodicals or e-journals or Compact Disc (CD)s | DESIRABLE
| (e) Duration of preservation of record (as applicable from time to time) | ESSENTIAL
VII. STANDARDS ON BASIC PROCESSES
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Infection Control practices - as per Bio Medical Waste Management Rules, 2016 | ESSENTIAL
| (b) Safety considerations- use of disposable needles etc. | ESSENTIAL
| (c) Patient Information and Education | ESSENTIAL
| (d) Process of calibration of equipment and reagents | ESSENTIAL
| (e) Booklet of Standard Operating Procedures (SOP) of all procedures available | ESSENTIAL
| (f) Grievance registration and disposal mechanism | ESSENTIAL
| (g)Practice of & performance in internal quality control | ESSENTIAL
| (h) Policy of proficiency testing of tests performed | DESIRABLE
| (i) Quality control in the form of retained sample testing | ESSENTIAL
| (j) Participation in Inter-laboratory comparisons/ External Quality Assessment Schemes/ Proficiency Testing | DESIRABLE
| (k)Corrective action taken on results of Internal and External quality checks. | ESSENTIAL
| (l) Hand hygiene practice (WHO Guidelines) | DESIRABLE
VIII. CONTINUAL QUALITY IMPROVEMENT PRACTICES
| REQUIREMENTS | TYPE OF REQUIREMENT | EVALUATION BY LAB (YES/NO) | EVALUATION BY ASSESSOR (YES/NO) | REMARKS BY ASSESSOR IF RESPONSE IS 'NO'
| (a) Records and performance of Quality indicators like: - Sample rejection rate - Sample collection to processing time - Internal Quality control results - External Quality control results. | DESIRABLE
| (b) Complaints: The laboratory shall have a policy and procedure for the resolution of complaints received from customers or other parties. Records shall be maintained of all complaints and of the investigations and corrective actions taken by the laboratory | ESSENTIAL
| (c)Improvement The laboratory shall continually improve the effectiveness of its management system through the use of the quality policy, quality objectives, audit results, analysis of data, risk assessment and management review. | DESIRABLE
| (d)Selection and implementation of corrective actions Where corrective action is needed, the laboratory shall identify potential corrective actions. It shall select and implement the action(s) most likely to eliminate the problem and to prevent ocurrence. The laboratory shall document and implement any required changes resulting from corrective action investigations. | DESIRABLE
| (e) Internal Audit: The laboratoy shall conduct internal audit covering all requirements of this certification standards atleast once in twelve months. | ESSENTIAL
| (f) Management Review: The laboratory shall conduct review of its activities and performace including results of quality control, PT and internal audit at least once in twelve months. | ESSENTIAL